Ground source heat pumps

What is it? Ground source heat pumps use a loop of pipes filled with water and antifreeze buried in the ground to absorb this heat and transfer it through a heat exchanger into the heat pump, which delivers the heat around the building. Heat pumps are most efficient in buildings that: are well insulated and draught proofed; and have either underfloor or warm air heating as they operate at lower temperatures.

Cost ££££

Improvement ↗↗↗↗

Disruption !!!!

Property designations? Is your home in a Conservation Area, Is it subject to an Article 4 Direction, Is it a Listed Building. These considerations may impact whether development to your property requires planning permission or not. An interactive map showing conservation areas and listed buildings can be found here. Details of Article 4 Directions can be found here. If you are uncertain please contact the planning service planning@camden.gov.uk

Listed Buildings - before embarking on any internal or external works, please discuss the matter with a member of the built heritage Conservation Team (planning@camden.gov.uk) or apply for listed building consent, details available here. Listed building consent is always required for works that have the potential to affect the character or special interest of a listed building.

| No designation (dwelling-house or block of flats) | Permitted development (planning permission is not required) |
| --- | --- |
| Conservation Area (with or without Article 4 Direction) | Permitted development (planning permission is not required) |
| Listed Buildings | Listed Building consent required Associated plant has the capacity to harm the setting of the listed building. |
| Building Regulations | Part E (Resistance to sound) Part G (Sanitation, Hot Water Safety and Water Efficiency) – when altering hot water system Part P (Electrical safety) Permission not required if installed under Competent Person Scheme Planning portal, building regulations information on heat pumps, see this webpage. |

Other considerations

- Space required for horizontal system or to sink a vertical system.